## Krebs
Rehabilitation of Theatre and Municipality Building in Tskaltubo
# | sub chapter | Title | Cost GEL
1 | B | construction rehabilitation works
2 | D | daily works
sum
VAT - 18%
Total sum

## B
Rehabilitation of Theatre and Municipality Building in Tskaltubo
sub chapter B - construction - repairing works
# | BoQ # | BoQ name | Total cost GEL
1 | 2 | 3 | 4
1 | B-1 | Governance building facades
2 | B-2 | Governance building rehabilitation works
3 | B-3 | Theatre building rehabilitation
Total :

## B-1
Rehabilitation of Theatre and Municipality Building in Tskaltubo
B-1
# | works and expenses | dimension | quantity | GEL
|  |  |  | Unit | Total corne
1 | 2 | 3 | 4 | 5 | 6
I. Dismantling works
5 | Dismantling of existing windows and loading on trucks | m2 | 134
7 | Cutting apertures on the 1st floor. | m2 | 5.42
8 | Dismantling of cornices on façade | gm | 65
III. Roof
17 | Partial replacement of roof wooden constructions and arrangement with fire protection | m3 | 10.95
18 | Arrangement of colored sheet metal roof | m2 | 400
20 | Arrangement of painted sheet metal gutters | gm | 192
21 | Arrangement of painted sheet metal collecting funnels | c | 12
22 | Arranging Sheet metal culverts | gm | 96
IV. Restoration - Facing works
23 | Plastering of front and lateral façade with cement mortar (considering scaffold and grid) | m2 | 550
24 | Building walls reinforcement with grid from building yard side and plastering with sand cement mortar 19.72 (Considering scaffold and protective grid) | m2 | 246.5
| Fitting Aa-I, A | kg | 789.87
25 | Facing walls with brick masonry (considering scaffold and protective grid ) | m2 | 30.28
26 | Installation of high quality solid wooden door, glassing 6mm-4mm, and varnishing | m2 | 22.839
28 | Arranging cornices with ornament. | gm | 65
29 | Arranging cornices on 1st floor 18,5m2 | gm | 77.44
30 | Arrangement of windows drains | m2 | 56.27
31 | Arranging forge stone for windows and doors | c | 21
32 | Modeling decorative elements on façade corners. | m2 | 21.32
33 | Arranging fronton | m2 | 97.01
34 | Modeling decorative elements on fronton | m2 | 57.44
35 | "Vazons" installation | c | 4
36 | "Baliasins" installation | c | 58
37 | Modeling elements on top | c | 52
38 | Clock arangement | c | 1
3.9 | Top elements | GEL | 1
40 | Collecting construction waste, loading and disposal from the site on the distance of 20 km. | Run | 20
Total

## B-2
Rehabilitation of Theatre and Municipality Building in Tskaltubo
B-2
# | Title of works | dimension | quantity | unit cost | Total
# | samuSaos CamonaTvali | ganzomi leba | raodeno ba
1 | 2 | 3 | 4 | 5 | 6
I-Chapter
I-II floor dismantling works
1 | Dismantling of existing wooden window block | m2 | 178.08
2 | Dismantling of existing wooden door block | m2 | 156.42
3 | Removal of old plastering from damaged walls. | m2 | 376
4 | Walls and partition clearing from existing layer. | m2 | 4198.89
5 | Dismantling of useless floor in working rooms. | m2 | 39.4
6 | Dismantling of existing plinths in working rooms and corridors . | lng/m | 1296.99
7 | Dismantling of old heating radiators | unit | 95
8 | Hatch frame for door block | m2 | 9.6
9 | Cutting -break off of existing walls and partitions for electric wiring | long/m | 2400
10 | Manual loading of construction waste on trucks and disposal on the distance of 5 km. | Ton | 32
Sum
II-Chapter
Heating
1 | Panel type radiator 22KKP-600 | unit | 91
2 | Radiator control valve 182 piece, socket male d= 20mm 182 piece | unit | 364
3 | Arrangement of heating plastic pipe d=20; 25; 32; 40. | lomg/m | 750
| plastic pipe D=20მმ | lomg/m | 200
| plastic pipe D=25მმ | lomg/m | 150
| plastic pipe D=32მმ | lomg/m | 200
| plastic pipe D=40მმ | lomg/m | 200
| plastic pipe clips D=20; 25; 32; 40. | lomg/m | 1875
4 | Thermal routing on external wall of the building with metal clips polyethylene pipe arrangement D=63 | lomg/m | 260
5 | Metal clip elements | kg | 161.5
6 | Pipe thermal insulation with heating case | long/m | 260
7 | Arrangement of polyethylene shaped parts | unit | 1172
| coupling D=20mm | unit | 50
| coupling D=25mm | unit | 36
| coupling D=32mm | unit | 50
| coupling D=40mm | unit | 50
| coupling D=63mm | unit | 35
| Angle 90 degree. დ=20mm | unit | 250
| Angle 90 degree D=25mm | unit | 250
| Angle 90 degree=32mm | unit | 250
| Angle 90 degree=40mm | unit | 16
| Angle 90 degree=63mm | unit | 16
| Adapter D=20/25მმ | unit | 12
| Adapter D=25/32მმ | unit | 12
| Adapter D=32/40მმ | unit | 10
| Adapter D=40/63მმ | unit | 6
| Tee D=32/25/32მმ | unit | 60
| Tee D=25/20/25მმ | unit | 60
| Tee D=40/32/40მმ | unit | 4
| Coupling with screw D=40mm | unit | 5
Boiler
8 | Boiler tank with capacity 232 kv/t with protector knot. | compl. Set | 1
| Boiler tank with 250.000 k.kal/hr capacity | compl. Set | 1
| Gas lighter 300.00 k.kal/hr | compl. Set | 1
9 | Arrangement of boiler polypropylene pipe D=20;25;40;63. | compl. Set | 100
10 | Installation of circulating pumps Q=15m3/hr H=10m-2 piece marcus 1 piece | compl. Set | 3
11 | Installation of expansion tank V-300 Lt. | compl. Set | 1
12 | Steel pipe for chimney D=325 m (with metal clips into the walls) | long/m | 11
13 | Arrangement of chimney steel pipe foundation with concrete m300. | m3 | 1.89
14 | Arrangement of shaped parts (D=63mm, D=40mm) | unit | 6
| Adapter D=63mm | unit | 4
| Adapter D=40mm | unit | 2
15 | Arrangement of closing valves with flanges | unit | 28
| Closing valve D =25mm | unit | 8
| Valve D =50mm | unit | 4
| Valve D=40მმ | unit | 2
| Flange D=50mm | unit | 8
| Flange D=40MM | unit | 4
| Flange =65mm | unit | 2
16 | Arranging of steel pipe distributor (comb)D=150mm (with thermometer and air vent ) | long/m | 2
17 | Installation of back valve D=25mm. | unit | 2
18 | Pipes thermal insulation with heating cover | long/m | 70
Total
III-Gas supply
1 | Trenching for gas supply | m3 | 22.4
2 | Manual ground excavation | m3 | 2.24
3 | Ground loading on truck and disposal on 10 km distance გრუნტის დატვირთვა ა/მანქანებზე და გატა 10კმ-ზე | tone | 45.58
4 | Backfilling of tranches with sand, 10 cm on bottom and 20 cm on top of pipe. | m3 | 14.4
5 | Trench backfilling with ballast | m3 | 12.8
6 | Arrangement of pipes PE-100 SDR 11 PN 16 in tranches D=50mm (at the beginning of route, sealed ) | long/m | 60
| Gas supply plastic pipe D=50mm PE -100 SDR 11 PN 16 | long/m | 60
| Plastic angle PE-100 SDR 11 PN 16 D=50mm | unit | 4
| Plastic adapter on metal PE-100 SDR 11 PN 16 D=50mm | unit | 1
| Plastic coupling PE-100 SDR 11 PN 16 D=50mm | unit | 15
| Plastic cover D=50 mm | unit | 1
7 | Arrangement of steel pipes in boiler with connections D=50mm (Installation of metal elements on the building) | long/m | 15
| Gas supply metal pipe D=50mm | long/m | 14.925
| Metal angle D=50 mm | unit | 4
| Installation of closing ball valve D 50 mm | unit | 1
Total
IV-Chapter
I-II floor repairing works
1 | Arrangement of metal window blocks (with wooden imitation , glass 4/6mm) | m2 | 178.08
2 | Arrangement of MDF door block | m2 | 156.42
3 | Plastering damaged walls and partitions with sand cement mortar | m2 | 376
4 | Plastering window and door sides with sand cement mortar | m2 | 156.42
5 | Installation of plaster boards on metal profiles. | m2 | 1611
6 | Plastering of ceilings and double painting with water emulsion | m2 | 1611
7 | Arranging penoplasty cornices in working rooms and in corridors. | long/m | 1169.07
8 | Plastering of the walls and partitions and double painting with water emulsion paint. (arranging with paint angles ) | მ2 | 4355.31
9 | Repairing of existing walls wooden panels and applying two layer of varnish . | მ2 | 288.1
10 | Arranging lintels on door aperture with channel bar №16 | long/m | 8.4
11 | Bricking on door aperture (09X0.3)cm 76 pieces. | m2 | 20.52
12 | Plastering of brick wall | m2 | 41.04
13 | Floor arrangement with laminated parquet (with under layer) category N31. | m2 | 374.8
14 | Plastic plinths installation | გრ/მ | 1216.45
15 | Parquet floor repairing | მ2 | 131.5
16 | Parquet floor polishing | მ2 | 1248.65
17 | Twice varnishing of parquet floor | მ2 | 1248.65
18 | Ballast filling of damaged floors in the rooms, with 20 cm road metal | m3 | 28.1
19 | Floor concrete with thickness 8 cm | m.3 | 3.15
20 | Painting stair rail twice with oil paint | m2 | 38.07
21 | Walling existing door aperture with blocks. | m2 | 9.6
22 | Arrangement of plaster board partitions both sides on metal profiles. | m2 | 11.25
23 | Facing staircase platform with fictile slabs. | მ2 | 19.85
24 | Walling heating radiator niches | მ2 | 61.4
25 | Plastering niches with sand cement mortar | მ2 | 61.4
26 | Arranging door lintels with angle №45X4 | long/m | 173.28
27 | Replacing useless wooden windowsills with plastic width 25cm. | long/m | 120
28 | Facing fictile tiles on the 1st floor working rooms. | m2 | 39.4
29 | Installation of window larmiers with galvanized tin plate (0.55m) | long/m | 117
Total
V-Chapter
Boiler construction
1 | Mannula excavation for boiler foundation | m3 | 1.5
2 | Arrangement of monolithic reinforced foundation M-200 | m3 | 1.5
| a) Sand road metal mixture | m3 | 1.5
| b)Fittings F 16 | long/m | 40
| c) Fitting F-8 | გრ/მ | 44
| d) Cement m 400 | Tone | 0.45
3 | Walls construction with blocks | unit | 338
4 | Arranging monolithic reinforced plane roof with thickness 10 cm m-200 | m3 | 1.41
| a) wooden beams 0.08X0.12 and board with thickness 0.04 for roof shuttering | m3 | 1.3
| b)Fittings F-18 | long/m | 70
| c) Fitting F-8 | long/m | 75
| d) Sand road metal mixture | m3 | 1.5
| e)Cement m -400 | tone | 0.45
| f) Nails | kg | 3
5 | Plastering internal and external walls with sand cement mortar | m2 | 55
6 | Arranging metal door with grating (2.20X1.30) and double painting with oil paint | m2 | 2.86
7 | Arranging of plastic window (0.60X0.45) | m2 | 0.27
8 | Processing foundation for floor with ballast | m3 | 1.2
9 | Concrete flooring with reinforced grid F-6 15 cm model 150 (thickness 12 cm) | m3 | 1.44
10 | Arranging roof with plane double layer insulation material(Linecrom) with welding methodology. | m2 | 17.28
11 | Arranging external walls surface with decorative spraying | m2 | 23.25
Total
VI-Chapter
Water closet arrangement
1 | Dismantling of existing partitions, dismantling of old fictile slabs from walls and floors. | m2 | 31.12
2 | Dismantling of suspended ceiling | m2 | 4.37
3 | Dismantling of wash sink and closet basin | unit | 2
4 | Plastering walls with sand cement mortar | m2 | 21
5 | Covering walls with fictile slabs | m2 | 21
6 | Covering floor with fictile tiles. | m2 | 4.37
7 | Plastic ceiling arrangement on metal profiles | m2 | 4.37
8 | Flooring with sand cement leveling mortar on metal profiles | m3 | 1.75
9 | Installation of water supply network with plastic pipes D=32 | long/m | 50
10 | Installation of sewerage system plastic pipe D=100 | long/m | 10
11 | Installation of sewerage system pipe D=50 | long/m | 15
12 | Installation of shaped parts | unit | 49
13 | Sanitary ware installation | unit | 5
14 | Closet basin with flashing box | unit | 1
| wash sink with prop | unit | 1
| Shower cabin | unit | 1
| Mixer | unit | 2
15 | Installation of water heating tank (Ariston 50 liter) | unit | 1
16 | Installation of water plastic tank in garret (0.5 ton) | unit | 1
20 | Water pump installation with control panel | unit | 1
21 | Manual excavation for outdoor sewerage system channel | m3 | 2.2
22 | Installation of sewerage pipe D=100mm. With connection on existing manhole | long/m | 35
Total
I-II-III-IV-V-VI Chapters sum
Electrical installation works
1 | Placing electrical wirings into the walls with copper conductor | long/m | 2730
2 | Same 2X1.5 | long/m | 770
3 | Same 4X6 with transferring on ceiling | long/m | 280
4 | Installation of distributive boxes | unit | 68
5 | Grounding wires multiconductor cable 2.5 | long/m | 700
6 | Plug adapter rosette with grounding for conditioners and computers | ცალი | 215
7 | Installation of plug adapter rosettes | unit | 70
8 | Installation of switches | ცალი | 65
9 | Installation of reversible switch | unit | 12
10 | Instalation of distribution box with existing fuses | complect set | 6
11 | Ceiling luminare (with electric bulbs ) | unit | 336
12 | Installation of internet cable | long/m | 1500
13 | Rosetts for internet | unit | 65
14 | Insulating tape | unit | 15
15 | Exhaust ventilation | unit | 1
Boiler
17 | Installation of distributor box with automatives electric fuses | complect set | 1
18 | Copper cable with double insulation with 3X2.5, 3X4 section | გრ/მ | 65
19 | Lighting fitting for ceiling E-27 with hermetic execution | unit | 2
20 | Two pole wall outlet with 3rd grounding contact 220 V | unit | 4
21 | Normal execution single pole switch 200V 10 W | unit | 1
Total
Total

## B-3
Theatre and governance buildings rehabilitation in town Tskaltubo
B-3
# p/p | Title of works | dimension | Quantity | BoQ cost GEL
|  |  |  | Dimention unit | Total
1 | 2 | 3 | 4 | 5 | 6
I Preparation and demolishing works
1 | Arranging attached vertical scaffolds and decomposition. | m2 | 211
2 | Protective grating on attached vertical scaffolds | m2 | 211
3 | Clearing of existing facades from facing and loading on dump truck .(considering protective grating and scaffolds arrangement) | m2 | 211
4 | Dismantling of existing vitrage and loading on dump truck . | m2 | 286
5 | Dismantling of central entrance pillars and front and loading on dump truck . | m2 | 255
6 | Dismantling of profiled sheet metal facing from existing parapet and loading on dump truck. | m2 | 665
7 | Dismantling of existing walls facing with artificial Eclar stone and loading on dump truck (Considering scaffolds arrangement) | m2 | 1376
8 | Hatch frame for door block | m2 | 20
10 | Construction waste disposal on distance of 10 km. | t | 214.644
Reconstruction works
1) Architectural part
1 | Facing central entrance and adjacent platform with natural granite (stairs and platform 5 cm, front 3 cm) | m2 | 524.8512
1.2. | Platform and stairs | m2 | 480
1.3. | Fronts | m2 | 44.8512
2 | Arrangemnt of metal rail | long.m. | 73.4
2.1. | On central entrance platform | long.m. | 37.2
2.2. | On central staircase | long.m. | 36.2
3 | Arrainging rail fauntation with massive natural granite stone 30X30sm. (under metal rail) | m3 | 3.3
3.1. | Granite | m3 | 3.3
3.2. | Fitting D20AIII ;0.05t | long.m. | 10
4 | Aranging rail with natural stone on central entrance , section 30X30cm. | m3 | 3.4
5 | Instalation of dark gray metal dead vitrages, with galss (4-6 mm ) | m2 | 230
6 | Central entrance vitrage with double-wing door(withot door frame) locks, handles in total 12 pieces. | m2 | 34
7 | Arrangement of double-wing door vitrage in the entrance of minus floor. (with aluminium frame)and accessories, in total 14 pieces. | m2 | 26.5
8 | Aluminum windows installation, with locks and accessories. | m2 | 16
9 | Facing minus floor walls with granite stone. | m2 | 132
10 | Fasing central entrance and front with light color travertin with thickness 2.5 cm. | m2 | 255
10.1. | Fittings A8 III ;0.950t | grZ.m. | 2400
10.2. | Wire 25kg | grZ.m. | 500
11 | Facing parapet with aquapanel;Processing and applying 2 layer high quality façade color (considering scaffold arrangement) | m2 | 665
12 | Facades plastering (considering scaffold arangement) | m2 | 1488
13 | Restoration of base existing facing granite | m2 | 71
14 | Restoration of existing metal door | m2 | 60
15 | Roof layers repairing | m2 | 1200
16 | Cleaning -processing of existing 4 piece sculpture. | cali | 4
17 | Arrangement of the ground layer at the central staircase and arrangement of formworks | m3 | 135
18 | Placing green cover on the formworks | m2 | 90
Arrangement of the reinforced concrete staircase at the main entrance
1 | Demolition of the reinforced concrete constructions | m3 | 40
2 | Removal of the construction waste in 10 km distance | tn | 90
3 | Excavation of III category soil with loading on trucks. | m3 | 530
4 | Removal of the excessive soil in 10 km distance | tn | 954
5 | Mannual processing of III category soil | m3 | 20
6 | Arrangement of monolith reinforced concrete slabs for roof M300 concrete with thickness up to 200mm | m3 | 34
| Fittings AIII | t | 3.3
7 | Arrangement of monolith reinforced concrete girth rail M300 concrete, with height up to 500 mm | m3 | 3.3
| Fittings AIII | t | 0.53
8 | Arrangement of monolith reinforced concrete pillars M300 concrete, height up to 500mm | m3 | 5.2
| Fittings AIII | t | 0.52
9 | Arrangement of monolith reinforced concrete foundation M300 concrete | m3 | 43
| Fittings AIII | t | 1.72
10 | Arrangement of monolith reinforced concrete walls M 300 concrete, height 6m, thickness up to 500mm | m3 | 15
| fittings AIII | t | 0.87
19 | Adapter D=63mm შ/ხ
19.1. | Adapter D=40mm | m3 | 8
19.2. | Arrangement of granite covers 0.35X0.5 length 26m | m3 | 4.55
20.1. | Cutting ground manually and removal to the site | m3 | 18.9
20.2. | Arangement of the granite curbs 15X30sm. | long.m. | 210
20.3. | Arrangement of the concrete foundation, concrete m 150 | m3 | 2
20.4. | Preparation of the concrete underneath the granite Slab, thickness 7 cm, concrete M100 | m3 | 15
20.5. | Laying thermally processed 5 cm thickness granite slab on the sand-cement solution | m2 | 210
20.6. | Sand-cement solution (thickness min. 3 cm) | m3 | 6
Sum:

## D
Rehabilitation of Theatre and Municipality Building in Tskaltubo
Sub chapter D- Daily works
# | Sub chapter | Title | Cost GEL
1 | D-1 | manpower
2 | D-2 | materials
3 | D-3 | construction mechanisms
Sum:
Adapter D=63mm შ/ხ
Adapter D=40mm შ/ხ
ფოლადის მილით სავარცხელას მოწყობა დ=150მმ. (თერმომანომეტრითა და air vent საჰაერო ვანტუზით)
Arranging lintels on door გამონგრეული კარის ღიობის თავზე ზღუდარების მოწყობა შველერით №16
პარკეტის იატაკის მოხვეწა Parquet floor
არსებული კარის ღიობის ამოშენება სამშენებლო ბლოკით
Facing staircase platform with fictile slabs.
b)Fittings F 16

## D-work
Theatre and Governance buildings rehabilitation in Tkaltubo
Sub chapter D – daily works
cost
# | part | Name | DImension | Quantity | Unit Cost | Total Cost
[5 empty] | lari | GEL
1 | 2 | 3 | 4 | 5 | 6 | 7
1 | D-1 | Manpower
2 | D1-1 | Foreman | sT | 200
3 | D1-2 | Qualified worker | sT | 200
4 | D1-3 | unqualified worker | sT | 400
5 | D1-4 | Truck driver | sT | 100
6 | D1-5 | Excavator operator | sT | 100
8 | D1-6 | Hoisting crane operator | sT | 150
10 | Hatch frame for door block | Roller compaction operator | sT | 50
Total D1
| D2 | Materials
2 | D 2-1 | Concrete B-20 | m3 | 45
3 | D 2-2 | Sand- gravel | m3 | 35
4 | D 2-3 | Various diameter pipes | m | 150
5 | D 2-4 | Fittings A-I | t | 1.2
6 | D 2-5 | Fittings A-III | t | 3.5
7 | D 2-6 | Various pipes with various sections. | m | 150
8 | D 2-7 | Electric wirings | m | 350
9 | D 2-8 | Ballast | m3 | 25
10 | D 2-9 | Wooden materials | m3 | 5.5
11 | D 2-10 | Fictile slabs | m2 | 70
12 | D 2-11 | Cement | t | 23
13 | D 2-12 | Sand | m3 | 23
Total D.2
1 | D.3 | Construction mechanisms
| D.3-1 | Truck (s) | m/sT | 40
3 | D.3-2 | Excavator 0.25 m3 | m/sT | 90
4 | D.3-3 | Dump truck | m/sT | 90
5 | D.3-4 | Autocrane10 t. | m/sT | 70
8 | D.3-5 |  | m/sT | 40